Fire Risk Assessment for

Simple Premises

FIRE SAFETY

RISK ASSESSMENT

Address of Premises…………………………………………………………………..

Post Code                ……………………………….

Responsible Person ……………………………………………………..

This in a workplace is the employer if the workplace is to any extent  under their control or the person who has control of the premises or the owner if the person in control does not have total control of business or trade

Person completing this assessment:………………………………………

Tel No ……………………..

Date of Assessment …………………………….. Date of Review ……………………………………..

Tel No ……………………………………..

Date of Assessment:

………………………

## Introduction

INDEMNITY

This document has been produced as a tool to assist you in completing a fire safety risk assessment of your premises. It is used entirely at your own risk to identify what you consider are your significant findings, and also whether you consider the information therein to be suitable and sufficient. It is in no way exhaustive and Cleveland Fire Brigade accepts no liability for any circumstances which may arise as a result of using this tool.

Generally simple premises do not contain areas of sleeping accommodation, do contain escape routes that are within the recommended travel distances indicated below, without having to create a route protected by fire resisting construction and accommodating less than 60 persons

Single Escape Route                       2 or More Escape Routes

Office/Shops                                                           18metres                                                45 Metres

Factories /Warehouses                                           25Metres                                                45Metres

Regulatory Reform Order

The Regulatory Reform (Fire Safety) Order 2005 came into effect on 1 October 2006 and requires that a fire risk assessment is carried out to determine what fire safety measures are necessary.

Fire Risk Assessment

This form is intended to assist small businesses in carrying out the fire risk assessment. It is suitable for use in small buildings, with a simple internal layout, e.g. small offices, shops or industrial units. In buildings with complicated escape arrangements, large numbers of people or high fire risk processes/storage a more comprehensive fire risk assessment may be necessary.

The enclosed information follows a simple 5 step guide to completing a suitable assessment. The fire risk assessment does not need to be complicated, it should be a common sense review to identify the hazards (what could start a fire and what could burn), followed by consideration of the possible effects of a fire on people using the building. The important thing is that the fire risk assessment is systematic to ensure that every part of the premises is assessed. Every room, space or area, including  those not often used, should be included.

If you identify any significant risks you should consider if they can be reduced: first by removing the hazards and secondly by providing fire protection measures (e.g. automatic fire detection). These points should be addressed within the ‘What needs to be done to make each situation safe?’ section.

If your business is located within a larger building and if a fire in your business could affect your neighbours, you should share the findings of your fire risk assessment with your neighbours.

Your fire risk assessment must be kept up to date. It is important to update the assessment if anything is changed that might affect the risk (e.g. new ignition sources or use of flammable liquids,new employee with special circumstances etc.). If you identify that either the likelihood of a fire or the risk to people is not LOW you may want to consider seeking professional assistance.

The 5 Steps to Fire Risk Assessment

| 1 | Identify the fire hazards |
| --- | --- |
| 2 | Identify people at risk |
| 3 | Evaluate, remove, reduce and protect from risk |
| 4 | Record, plan, inform, instruct and train |
| 5 | Review |

| PLAN DRAWING |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Complete a simple line drawing of the premises and identify your fire safety provisions – including escape routes, extinguishers, emergency lighting and fire alarm. |  |  |  |  |  |  |  |  |  |  |  |  |  |
| KEY – Escape routes Extinguishers Smoke detectors EL Emergency lighting BGP Break glass points Identifying Ignition and Fuel Sources Noughts & Crosses - As an aid to identifying the hazards within your premises it’s possible to use a system of noughts and crosses, using a X to mark ignition sources and a O for fuel sources. |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Step 1 ~ Identify fire hazards |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Are existing control measures suitable? If yes please record actions below |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Sources of ignition |  | Location |  |  |  |  |  |  |  |  |  |  |  |
| Naked flames |  |  |  |  |  |  | YES |  |  |  | NO |  |  |
| Portable /Fixed Heaters |  |  |  |  |  |  | YES |  |  |  | NO |  |  |
| Electrical equipment e.g. overloaded sockets etc. |  |  |  |  |  |  | YES |  |  |  | NO |  |  |
| Cooking facilities |  |  |  |  |  |  | YES |  |  |  | NO |  |  |
| Lighting equipment |  |  |  |  |  |  | YES |  |  |  | NO |  |  |
| Arson/Anti Social behaviour |  |  |  |  |  |  | YES |  |  |  | NO |  |  |
| Smoking materials External only |  |  |  |  |  |  | YES |  |  |  | NO |  |  |
| Other sources |  |  |  |  |  |  | YES |  |  |  | NO |  |  |
|  | If you have answered NO to any question above complete the details below - |  |  |  |  |  |  |  |  |  |  |  |  |
|  | What needs to be done to make each situation safe? |  |  |  | Action required by? |  |  | Date due |  | Date complete |  |  |  |

| Step 1 ~ Identify fire hazards (continued) |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Are existing control measures suitable? If yes please record actions below |  |  |  |  |  |  |  |  |  |  |  |
| Sources of fuel & oxygen |  | Location |  |  |  |  |  |  |  |  |  |
| Wood/paper/cardboard etc |  |  |  |  |  | YES |  |  |  | NO |  |
| Plastics/rubber/foam (including packaging) |  |  |  |  |  | YES |  |  |  | NO |  |
| Electrical equipment e.g. overloaded sockets, extension cables, etc. |  |  |  |  |  | YES |  |  |  | NO |  |
| Furniture and fixings e.g. curtains |  |  |  |  |  | YES |  |  |  | NO |  |
| Flammable gases/liquids e.g. oils/solvents etc |  |  |  |  |  | YES |  |  |  | NO |  |
| Textiles |  |  |  |  |  | YES |  |  |  | NO |  |
| Display materials |  |  |  |  |  | YES |  |  |  | NO |  |
| Waste materials Internal /External |  |  |  |  |  | YES |  |  |  | NO |  |
| Additional oxygen supplies e.g. air conditioning units |  |  |  |  |  | YES |  |  |  | NO |  |
|  | If you have answered NO to any question above complete the details below - |  |  |  |  |  |  |  |  |  |  |
|  | What needs to be done to make each situation safe? |  |  | Action required by? |  |  | Date due |  | Date complete |  |  |

| Step 2 ~ Identifying people at risk |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Consider who might be at risk? – e.g. staff, visitors, guests, customers etc. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Why are they at risk? |  |  | Location |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Working alone |  |  |  |  |  |  |  |  | YES |  |  |  |  | NO |  |  |
| People with disabilities (including mobility, hearing, vision impairment) |  |  |  |  |  |  |  |  | YES |  |  |  |  | NO |  |  |
| Unfamiliar with the building Are Premises used during periods of darkness |  |  |  |  |  |  |  |  | YES |  |  |  |  | NO |  |  |
| Other |  |  |  |  |  |  |  |  | YES |  |  |  |  | NO |  |  |
|  | If you have answered NO to any question above complete the details below - |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | What needs to be done to make each situation safe? |  |  |  |  | Action required by? |  |  |  |  | Date due |  | Date complete |  |  |  |

| Step 3 ~ Evaluate, remove, reduce and protect from risk |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Can hazards and risks be removed or reduced? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| The following examples can greatly aid the protection of people and property – - Separate ignition sources from combustibles - Improve security - Remove or improve storage of highly flammable materials - Replace temporary heaters with permanent fixed ones - Regularly remove refuse and packing materials - Provide automatic fire detection - Provide emergency escape lighting (in some circumstances provision of a torch may be suitable) - Test and maintain all fire safety equipment (i.e. fire alarm, emergency lighting and fire extinguishers) - Arrange electrical testing of appliances - Remove unwanted ignition sources - Remove unwanted combustible material |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Step 3 ~ Evaluate, remove, reduce and protect from risk (continued) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Evaluate fire safety arrangements |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Are ignition sources controlled to minimise the likelihood of fire? |  |  |  |  |  |  |  |  | YES |  |  |  |  | NO |  |  |
| Are combustible materials kept away from ignition sources? |  |  |  |  |  |  |  |  | YES |  |  |  |  | NO |  |  |
| Would a fire be discovered quickly? |  |  |  |  |  |  |  |  | YES |  |  |  |  | NO |  |  |
| Will everybody be warned of the fire immediately? |  |  |  |  |  |  |  |  | YES |  |  |  |  | NO |  |  |
| Is escape required in more than one direction? |  |  |  |  |  |  |  |  | YES |  |  |  |  | NO |  |  |
| Can everyone escape without assistance? |  |  |  |  |  |  |  |  | YES |  |  |  |  | NO |  |  |
| Are exits easily identified? |  |  |  |  |  |  |  |  | YES |  |  |  |  | NO |  |  |
| Are escape routes free from obstruction? |  |  |  |  |  |  |  |  | YES |  |  |  |  | NO |  |  |
| Are doors required for escape easily operable, including final exit doors? |  |  |  |  |  |  |  |  | YES |  |  |  |  | NO |  |  |
| Are fire extinguishers serviced annually and appropriate for the risk ? |  |  |  |  |  |  |  |  | YES |  |  |  |  | NO |  |  |
|  | If you have answered NO to any question above complete the details below - |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | What needs to be done to make each situation safe? |  | Action required by? |  |  |  |  |  |  |  | Date due |  | Date complete |  |  |  |

| Step 4 ~ Record, Plan, Inform, Instruct and Train |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| You must record your fire safety arrangements – this includes: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Have you made an emergency plan and does it include the points below? |  |  |  |  |  |  |  |  | YES |  |  |  | NO |  |
| Your emergency plan should include - |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| How will people be warned if there is a fire (this may range from a shout of ‘fire’ to an electrical fire alarm system): |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| What should staff do if they discover a fire: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| How should the evacuation of the premises be carried out: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Where should people assemble and how to check premises have been evacuated: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Duties and identity of responsible staff if there is a fire: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Step 4 ~ Record, Plan, Inform, Instruct and Train (continued) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Have you provided instruction and training to staff? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| NB. Fire Safety training should be carried out by a competent person |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Has instruction and training been provided to all staff on what to do in case of fire?How often is training carried out? |  |  |  |  |  |  |  | YES |  |  |  | NO |  |  |
| Are there records of fire drills, instruction and training? |  |  |  |  |  |  |  | YES |  |  |  | NO |  |  |
|  | If you have answered NO to any question above complete the details below - |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | What needs to be done to make each situation safe? |  | Who is to carry out this Action? |  |  |  |  |  | Date due |  | Date complete |  |  |  |

| Step 5 ~ Review |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Your risk assessment must be kept up to date |  |  |  |  |  |  |  |
| Date of next review It is recommended that you review your risk assessment every 12 months OR if you make changes to the layout of your premises, significantly increase the amount of combustible materials stored or displayed, change your opening hours (e.g. to include night time opening etc) you should review your fire risk assessment. |  |  |  | / /20__ |  |  |  |

For further information visit the website –  www.firesafetyguides.communities.gov.uk

or contact the Cleveland Fire Brigade  Fire Engineering  help desk  –  01429 874109

A copy of this form can be found on – www.clevelandfire.gov.uk  under the Business Fire Safety Tab